| INSTALLATION SYMBOLS | T.S. 2164 / 1.13 |
| --- | --- |

| SYMBOLS | NAME | SYMBOLS | NAME |
| --- | --- | --- | --- |
|  | Heating hot water flow pipe |  | Corner type weighted safety valve |
|  | Heating hot water return pipe |  | Corner type spring safety valve |
|  | Heating installation vent pipe |  | Corner type closable one-way valve |
|  | Low pressure steam pipe |  | Gate valve |
|  | High pressure steam pipe |  | Straight faucet |
|  | Oil fuel pipe |  | Corner type faucet |
|  | Gas fuel pipe |  | Three-way valve |
|  | Steam condensate pipe |  | Radiator tap |
|  | Circulation water pipe |  | Flap |
|  | Heat insulated plumbing pipe |  | Closeable flap |
|  | Flanged pipe fitting |  | Dimmable directional flap |
|  | Screw pipe fitting |  | One way flap |
|  | Straight fleece pipe connection |  | Bottom flap (suction flap) |
|  | Sphere fleece pipe connection |  | Omega type regulator |
|  | Blind flanged pipe |  | U-type regulator |
|  | Welded pipe fitting |  | Lira type editor |
|  | Connection of the cutting element to the pipe |  | Lentil type regulator |
|  | Soluble cross link |  | Compensator |
|  | Welded cross link |  | Regulator with piston seal |
|  | Branch disconnection connection |  | L-type regulator |
|  | Heating mantle pipe |  | Z-type regulator |
|  | Co-heated plumbing pipe |  | Refinement or sorting device |
|  | Main distribution (collector) pipe |  | Condensate separator (steam trap) |
|  | Finned tube |  | Condensate collector and separator |
|  | Bendable (flexibile) pipe |  | Strainer |
|  | Pressure reducer |  | Filter (strainer) |